 **www.astekglobe.com**

APA005 SERIES 6W DOE VI Adapter



Features

\*Universal AC Input Range

\*Protections: Short Circuit/Overload/ Overvoltage

\*USB Socket provided.

\*Efficiency: Level VI and V (optional)

\*DOE VI/ErP

\*Pass LPS/LVD

\*100% Hi-Pot & ATE Chroma test

\*100% Burn-in test High Ambient Temp(45°C)

\*Application: IT/Travel Charger, Communication, Battery charger(CV mode) etc.

**Input**

Voltage: 90~264VAC

Frequency: 50~60Hz

Input current: 0.2A max.

Inrush current: 40A max

Efficiency Level VI and V (optional)

**Output**

Over Voltage Protection/Short Circuit Protection: Auto Recovery

Ripple & Noise: 2%

**Part No O/P Voltage O/P Current(max.) watt Max**

**APA005-S03-z 3~4.9V 1.5A 5W**

**APA005-S05-z 5~7.4V 1A 5W**

**APA005-S7.5-z 7.5~12V 0.67A 5W**

**APA005-S12-z 12~15V 0.5A 6W**

**z: U=US, E=EU, A=Australia/New Zealand, B=British, K=Korean, I=Interchangeable**

Load Regulation: 5% Max.

Line Regulation: 1% Max.

Operating Temperature: 0~40degree C

Storage Temperature: -20~85degree C

Storage Humidity: 5~95% RH

Mechanical Type: Fixed and Interchangeable US/EU/UK/AU/KR plug, USB also provide

Safety approvals: DOE VI, UL,cUL,TUV-GS, CB,CE, FCC,VCCI, NRCAN, KC, PSB,BSMI

EMC: CE, VCCI, LVD,FCC

Mechanical Drawing

US fixed adapter

 EU fixed adapter

AS fixed adapter

UK fixed adapter

China fixed adapter

Korean Fixed adapter

 Interchangeable plug adapter